## Ofsep and AutoImport enable
Case 1 - Ofsep with autoimport enabled
Pre-requisites | Edit the server.properties in .su folder with the following params :
autoimport.enable=true
is.ofsep=true
| Action | Expected Result | Test case Result | Remarks
Serie 1
test case 1 | Start the shanoir Uploader | Shanoir Uploader is started, the dialog "ShanoirUploader" should be visible and on the top right of the window, you should see "Shanoir Authentication Succesfull"
test case 2 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
test case 3 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
test case 4 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Then click "Retrieve and Send" button. | The "pre-import dialog" should open, and the subject should be already selected and the following fields should be greyed out (Shanoir subject, Image object category, Language Hemispheric Dominance, Manual Hemispheric Dominance, Personal comments.
test case 5 | The button "export and import" must disable | The button export and import must disable
test case 6 | Click on the Study Card combo box | The list must be empty
test case 7 | In the study list, select the study xxxx | The study is selected and the study card list is updated
test case 8 | In the study card list, select a study card | The study card is selected and the "export and import" button must be enabled
test case 9 | Click on "export and import" button | The preimport should close itself and a dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
test case 10 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader".
A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file.
Make sure the upload-job.xml contains a preImportdata tag with the correct study and studyCard
Serie 2
test case 11 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
test case 13 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
test case 14 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Change the First Name to XXXXX Then click "Retrieve and Send" button. | The "pre import dialog" should open, and the subject should not be already selected. The following field should be greyed out : "Shanoir Subject".
test case 15 | The button "export and import" must disable | The button export and import must disable
test case 16 | Click on the Study Card combo box | The list must be empty
test case 17 | In the study list, select the study xxxx | The study is selected and the study card list is updated
test case 18 | In the study card list, select a study card | The study card is selected.
test case 19 | Click on Imaged Object Category | The following values should be available : "Anatomical piece", "Human cadaver","Living human being","Phantom"
test case 20 | Select the Imaged Object Category : "Living human being" | The Image Object Category is selected and the "export and import" button must be enabled
test case 21 | Set both language and manual hemispheric dominance to Right | The value is set in both fields
test case 22 | Click on "export and import" button | The preimport should close itself and a dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
test case 23 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader"
test case 24 | Log on the shanoir old server | make sure the subject created under Shanoir uploader is available under Shanoir old.

## Ofsep and AutoImport disable
Case 2 - Ofsep with autoimport disabled
Pre-requisites | Edit the server.properties in .su folder with the following params :
autoimport.enable=false
is.ofsep=true
| Action | Expected Result | Test case Result | Remarks
Serie 1
test case 1 | Start the shanoir Uploader | Shanoir Uploader is started, the dialog "ShanoirUploader" should be visible and on the top right of the window, you should see "Shanoir Authentication Disabled
test case 2 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
test case 3 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
test case 4 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Then click "Retrieve and Send" button. | The dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
test case 5 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader".
A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file.

## !Ofsep and AutoImport enable
Case 3 - Neurifo with autoimport enabled
Pre-requisites | Edit the server.properties in .su folder with the following params :
autoimport.enable=true
is.ofsep=false
| Action | Expected Result | Test case Result | Remarks
Serie 1
test case 1 | Start the shanoir Uploader | Shanoir Uploader is started, the dialog "ShanoirUploader" should be visible and on the top right of the window, you should see "Shanoir Authentication Succesfull"
test case 2 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
test case 3 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
test case 4 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Then click "Retrieve and Send" button. | The "pre-import dialog" should open, and the subject should be already selected and the following fields should be greyed out (Shanoir subject, Image object category, Language Hemispheric Dominance, Manual Hemispheric Dominance, Personal comments.
test case 5 | The button "export and import" must disable | The button export and import must disable
test case 6 | Click on the Study Card combo box | The list must be empty
test case 7 | In the study list, select the study xxxx | The study is selected and the study card list is updated
test case 8 | In the study card list, select a study card | The study card is selected and the "export and import" button must be enabled
test case 9 | Click on "export and import" button | The preimport should close itself and a dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
test case 10 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader".
A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file.
Make sure the upload-job.xml contains a preImportdata tag with the correct study and studyCard
Serie 2
test case 11 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
test case 13 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
test case 14 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Change the First Name to XXXXX Then click "Retrieve and Send" button. | The "pre import dialog" should open, and none of the field should be greyed out.
test case 15 | The button "export and import" must disable | The button export and import must disable
test case 16 | Click on the Study Card combo box | The list must be empty
test case 17 | In the study list, select the study xxxx | The study is selected and the study card list is updated
test case 18 | In the study card list, select a study card | The study card is selected
test case 19 | in the Subject Name field, type a subject name XXXX | The subject name is set
test case 20 | Click on Imaged Object Category | The following values should be available : "Anatomical piece", "Human cadaver","Living human being","Phantom"
test case 21 | Select the Imaged Object Category : "Living human being" | The Image Object Category is selected and the "export and import" button must be enabled
test case 22 | Set both language and manual hemispheric dominance to Right | The value is set in both fields
test case 24 | Click on "export and import" button | The preimport should close itself and a dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
test case 25 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader"
test case 26 | Log on the shanoir old server | make sure the subject created under Shanoir uploader is available under Shanoir old.
Serie 3
test case 27 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
test case 28 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
test case 29 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Change the First Name to YYYYY Then click "Retrieve and Send" button. | The "pre import dialog" should open, and none of the field should be greyed out.
test case 30 | The button "export and import" must disable | The button export and import must disable
test case 31 | Click on the Study Card combo box | The list must be empty
test case 32 | In the study list, select the study xxxx | The study is selected and the study card list is updated
test case 33 | In the study card list, select a study card | The study card is selected
test case 34 | in the Subject Name field, type a subject name XXXX | The subject name is set
test case 35 | Click on Imaged Object Category | The following values should be available : "Anatomical piece", "Human cadaver","Living human being","Phantom"
test case 36 | Select the Imaged Object Category : "Living human being" | The Image Object Category is selected and the "export and import" button must be enabled
test case 37 | Set both language and manual hemispheric dominance to Right | The value is set in both fields
test case 38 | Click on "export and import" button | A warning should appear and ask you to change the subject name to a new name since the one choosen is already used.
test case 39 | in the Subject Name field, type a subject name YYYYY | The subject name is set
test case 40 | Click on "export and import" button | The preimport should close itself and a dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
test case 41 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader"
test case 42 | Log on the shanoir old server | make sure the subject created under Shanoir uploader is available under Shanoir old.

## !Ofsep and AutoImport disable
Case 4 - Neurinfo with autoimport disabled
Pre-requisites | Edit the server.properties in .su folder with the following params :
autoimport.enable=false
is.ofsep=false
| Action | Expected Result | Test case Result | Remarks
Serie 1
test case 1 | Start the shanoir Uploader | Shanoir Uploader is started, the dialog "ShanoirUploader" should be visible and on the top right of the window, you should see "Shanoir Authentication Disabled
test case 2 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
test case 3 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
test case 4 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Then click "Retrieve and Send" button. | The dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
test case 5 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader".
A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file.